## E-Log Book Dry Sys.
ADANI POWER LIMITED (ADTPS-2 X250 MW)
|  | Document No. | [11 empty] | Issue No/Date | [11 empty] | Revision No/Date
ADTPS/AHP/OPN/F/01
SHIFT INCHARGE LOG BOOK ASH HANDLING DRY SYSTEM DEASHING STATUS
Shift : A | [13 empty] | Unit-1 | 10:00 |  | Time: | 18:00 | [7 empty] | Unit-2 | Time: |  | Time: |  | 24-09-2026 |  |  | Date:
Shift In Charge : TEST SIC | [14 empty] | 235 MW |  | Load: | 228 MW | [8 empty] | Load: |  | Load: |  |  |  |  | Phase:
Field Operator : TEST OPERATOR | [14 empty] | 112 TPH |  | Coal Flow: | 108 TPH | [8 empty] | Coal Flow: |  | Coal Flow:
U-1 ESP DRY DEASHING | Unit # 1
ESP Pass - A / B /C /D
|  | AB- 1st |  |  | CD- 1st |  |  | AB- 2nd |  |  | CD- 2nd |  |  | ABCD- 3rd |  |  | ABCD- 4th |  |  | ABCD- 5th |  |  | ABCD- 6th |  |  |  | AB- 1st (Addl.) |  |  | CD- 1st (Addl.) |  |  | AB- 2nd (Addl.) |  |  | CD- 2nd (Addl.)
| Cycle | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total |  | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total
| 1 | 08:00 | 08:25 | 00:25 | 08:30 | 08:55 | 00:25 | 09:00 | 09:20 | 00:20 | 09:25 | 09:50 | 00:25 | 10:00 | 10:25 | 00:25 | 10:30 | 10:55 | 00:25 | 11:00 | 11:20 | 00:20 | 11:25 | 11:50 | 00:25 |  | 12:00 | 12:20 | 00:20 | 12:25 | 12:50 | 00:25 | 13:00 | 13:20 | 00:20 | 13:25 | 13:50 | 00:25
| 2 | 08:02 | 08:27 | 00:25 | 08:32 | 08:57 | 00:25 | 09:02 | 09:22 | 00:20 | 09:27 | 09:52 | 00:25 | 10:02 | 10:27 | 00:25 | 10:32 | 10:57 | 00:25 | 11:02 | 11:22 | 00:20 | 11:27 | 11:52 | 00:25 |  | 12:02 | 12:22 | 00:20 | 12:27 | 12:52 | 00:25 | 13:02 | 13:22 | 00:20 | 13:27 | 13:52 | 00:25
| 3 | 08:00 | 08:25 | 00:25 | 08:30 | 08:55 | 00:25 | 09:00 | 09:20 | 00:20 | 09:25 | 09:50 | 00:25 | 10:00 | 10:25 | 00:25 | 10:30 | 10:55 | 00:25 | 11:00 | 11:20 | 00:20 | 11:25 | 11:50 | 00:25 |  | 12:00 | 12:20 | 00:20 | 12:25 | 12:50 | 00:25 | 13:00 | 13:20 | 00:20 | 13:25 | 13:50 | 00:25
U-2 ESP DRY DEASHING | Unit # 2
ESP Pass - A / B /C /D
|  | AB- 1st |  |  | CD- 1st |  |  | AB- 2nd |  |  | CD- 2nd |  |  | ABCD- 3rd |  |  | ABCD- 4th |  |  | ABCD- 5th |  |  | ABCD- 6th |  |  |  | AB- 1st (Addl.) |  |  | CD- 1st (Addl.) |  |  | AB- 2nd (Addl.) |  |  | CD- 2nd (Addl.)
| Cycle | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total |  | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total | Start | Stop | Total
| 1 | 08:01 | 08:26 | 00:25 | 08:31 | 08:56 | 00:25 | 09:01 | 09:21 | 00:20 | 09:26 | 09:51 | 00:25 | 10:01 | 10:26 | 00:25 | 10:31 | 10:56 | 00:25 | 11:01 | 11:21 | 00:20 | 11:26 | 11:51 | 00:25 |  | 12:01 | 12:21 | 00:20 | 12:26 | 12:51 | 00:25 | 13:01 | 13:21 | 00:20 | 13:26 | 13:51 | 00:25
| 2 | 08:03 | 08:28 | 00:25 | 08:33 | 08:58 | 00:25 | 09:03 | 09:23 | 00:20 | 09:28 | 09:53 | 00:25 | 10:03 | 10:28 | 00:25 | 10:33 | 10:58 | 00:25 | 11:03 | 11:23 | 00:20 | 11:28 | 11:53 | 00:25 |  | 12:03 | 12:23 | 00:20 | 12:28 | 12:53 | 00:25 | 13:03 | 13:23 | 00:20 | 13:28 | 13:53 | 00:25
| 3 | 08:01 | 08:26 | 00:25 | 08:31 | 08:56 | 00:25 | 09:01 | 09:21 | 00:20 | 09:26 | 09:51 | 00:25 | 10:01 | 10:26 | 00:25 | 10:31 | 10:56 | 00:25 | 11:01 | 11:21 | 00:20 | 11:26 | 11:51 | 00:25 |  | 12:01 | 12:21 | 00:20 | 12:26 | 12:51 | 00:25 | 13:01 | 13:21 | 00:20 | 13:26 | 13:51 | 00:25
Silo Evacaution | Silo Level |  | Fine Ash Silo |  |  | Coarse Ash Silo |  |  | 300 MT Ash Silo |  |  | Fly Ash Quanity |  |  | Fine Ash |  |  | Coarse Ash |  | Dummy test data: Fly ash quantity / silo operation recorded
|  | Time | Level |  |  | Level |  |  | Level |  |  |  | Time
|  | 08:15 | 68% |  |  | 08:15 | 72% |  | 08:15 | 48% |  |  | 08:30 |  | 145 MT |  |  | 08:30
|  | 12:15 | 62% |  |  | 12:15 | 66% |  | 12:15 | 45% |  |  | 12:30 |  | 132 MT |  |  | 12:30
|  | 16:15 | 55% |  |  | 16:15 | 59% |  | 16:15 | 41% |  |  | 16:30 |  | 118 MT |  |  | 16:30
DRY SYSTEM - EQUIPMENTS RUNNING STATUS
Equipment | Compressor No-1 |  |  |  | Compressor No-2 |  |  |  | Compressor No-3 |  |  |  | Compressor No-4 |  |  |  | Compressor No-5 |  |  |  | Fluidizing Blower-A |  |  |  | Fluidizing Blower-B |  |  |  | Fluidizing Blower-C |  |  |  | Fluidizing Blower Heater- A
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | Equipment |  |  | AVAIL. STATUS
1 | 08:00 | 09:20 | 01:20 | A | 08:10 | 09:40 | 01:30 | A | 08:20 | 10:00 | 01:40 | A | 08:30 | 09:50 | 01:20 | A | 08:40 | 10:10 | 01:30 | A | 08:50 | 10:30 | 01:40 | A | 09:00 | 10:20 | 01:20 | A | 09:10 | 10:40 | 01:30 | A | Heater-A |  |  | A
2 | 08:05 | 09:25 | 01:20 |  | 08:15 | 09:45 | 01:30 |  | 08:25 | 10:05 | 01:40 |  | 08:35 | 09:55 | 01:20 |  | 08:45 | 10:15 | 01:30 |  | 08:55 | 10:35 | 01:40 |  | 09:05 | 10:25 | 01:20 |  | 09:15 | 10:45 | 01:30
3 | 08:10 | 09:30 | 01:20 |  | 08:20 | 09:50 | 01:30 |  | 08:30 | 10:10 | 01:40 |  | 08:40 | 10:00 | 01:20 |  | 08:50 | 10:20 | 01:30 |  | 09:00 | 10:40 | 01:40 |  | 09:10 | 10:30 | 01:20 |  | 09:20 | 10:50 | 01:30
|  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30 |  |  | TOTAL HRS | 05:00 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30 |  |  | TOTAL HRS | 05:00 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30
DRY SYSTEM - EQUIPMENTS RUNNING STATUS
Equipment | Cooling Tower Fan |  |  |  | Cooling Tower Pump-A |  |  |  | Cooling Tower Pump-B |  |  |  | Classifier-A |  |  |  | Classifier-B |  |  |  | Vent-A |  |  |  | Vent-B |  |  |  | 300 M.T. Silo Operation |  |  |  | Fluidizing Blower Heater- B
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | Equipment |  |  | AVAIL. STATUS
1 | 08:00 | 09:20 | 01:20 | A | 08:10 | 09:40 | 01:30 | A | 08:20 | 10:00 | 01:40 | A | 08:30 | 09:50 | 01:20 | A | 08:40 | 10:10 | 01:30 | A | 08:50 | 10:30 | 01:40 | A | 09:00 | 10:20 | 01:20 | A | 09:10 | 10:40 | 01:30 | A | Heater-B |  |  | A
2 | 08:05 | 09:25 | 01:20 |  | 08:15 | 09:45 | 01:30 |  | 08:25 | 10:05 | 01:40 |  | 08:35 | 09:55 | 01:20 |  | 08:45 | 10:15 | 01:30 |  | 08:55 | 10:35 | 01:40 |  | 09:05 | 10:25 | 01:20 |  | 09:15 | 10:45 | 01:30
3 | 08:10 | 09:30 | 01:20 |  | 08:20 | 09:50 | 01:30 |  | 08:30 | 10:10 | 01:40 |  | 08:40 | 10:00 | 01:20 |  | 08:50 | 10:20 | 01:30 |  | 09:00 | 10:40 | 01:40 |  | 09:10 | 10:30 | 01:20 |  | 09:20 | 10:50 | 01:30
|  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30 |  |  | TOTAL HRS | 05:00 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30 |  |  | TOTAL HRS | 05:00 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:30
DRY ASH SYSTEM POWER CONSUMPTION
Sr. No. |  | Location | [5 empty] | Initial (A) | [5 empty] | Final (B) | [5 empty] | Difference (B-A) | [7 empty] | To KWH |  |  |  |  | Total Energy(KWH) Consumption (1+2)
1 |  | I/C-1 (From AXC) | [5 empty] | 118.4 | [5 empty] | 126.7 | [5 empty] | 8.3 | [7 empty] | 2.05 |  |  |  |  | 34.45
2 |  | I/C-2 (From AXD) | [5 empty] | 121.1 | [5 empty] | 129.6 | [5 empty] | 8.5 | [7 empty] | 2.05
Legend: |  | R-Running |  |  | A-Available |  |  | B-Breakdown |  |  | P-PTW
TIME | DETAILS OF OBSERVATION/ACTION TAKEN
08:10-17:30 | Dry ash evacuation cycle checked; all ESP passes available.
Compressor-4 kept on standby for routine inspection (dummy test condition).
Fine ash silo level recorded and evacuation path verified.
Fluidizing blower-A/B running normally; no abnormal indication observed.
300 MT ash silo level checked; transfer operation normal.
Power consumption readings entered for testing import/upload.
End-of-shift housekeeping and equipment status verification completed.
Signature (Operator): |  | TEST OPERATOR | [26 empty] | Signature (Shift in Charge): |  |  |  | TEST SHIFT IN CHARGE

## E-Log Book Wet Sys.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
ADANI POWER LIMITED (ADTPS- 2X250MW)
Document No | [13 empty] | Issue No/Date | [10 empty] | Revision No/Date
ADTPS/AHP/OPN/F/02
SHIFT INCHARGE LOG BOOK ASH HANDLING WET-DEASHING SYSTEM STATUS
Date:- | [13 empty] | Shift | [10 empty] | Name of SIC:-
| Unit- 1 | [6 empty] | Unit-1 |  | ESP Status | [10 empty] | Unit- 2 | [6 empty] | Unit-2 |  | ESP Status
Time | [7 empty] | ESP Fields Discharged | [11 empty] | Time | [7 empty] | ESP Fields Discharged
Load | [7 empty] | ESP Hopper Level Hi (If any) | [11 empty] | Load | [7 empty] | ESP Hopper Level Hi (If any)
Coal Flow | [7 empty] | ESP CERM Availability | [11 empty] | Coal Flow | [7 empty] | ESP CERM Availability
[8 empty] | ESP EERM Availability | [19 empty] | ESP EERM Availability
TOTAL (DRY + WET SYSTEM) POWER CONSUMPTION IN MW- UNIT-1&2 | [14 empty] | DRY SYSTEM POWER CONSUMPTION IN MW- UNIT-1&2 | [14 empty] | WET SYSTEM POWER CONSUMPTION IN MW- UNIT-1&2
500 KVA( AXA/AXB) TRANFORMER |  |  | Initial Reading ( A ) |  |  | Final Reading ( B ) |  |  | Total (B-A) | [5 empty] | 500 KVA( AXC/AXD) TRANFORMER |  |  | Initial Reading ( C ) |  |  | Final Reading ( D ) |  |  | Total (D-C) | [8 empty] | Total (GT-1) - (GT-2)
INCOMER FROM STN SWGR OSA | [14 empty] | INCOMER -1 FROM STN SWGR ASA | [14 empty] | Grand Total Reading in KWH
INCOMER FROM STN SWGR OSC | [14 empty] | INCOMER-2 FROM STN SWGR ASA
AHP AREA LIGHTING | [14 empty] | AHP AREA LIGHTING
Total Reading Unit-1&2 | [14 empty] | Total Reading Unit-1&2
Grand Total Reading in Kwh (GT-1) | [14 empty] | Grand Total Reading in Kwh (GT-2)
BOTTOM ASH HOPPER DE-ASHING REPORT UNIT-1 & 2
UNIT | START TIME |  |  |  |  | STOP TIME | [5 empty] | TOTAL TIME | [6 empty] | CG IN SERVICE |  |  |  |  | FLAME CHECKED BY | [5 empty] | WITNESS BY
Unit#1
Unit#2
ESP/APH/ECO/ DUCT HOPPER UNIT-1&2 & COARSE ASH SILO DE-ASHING REPORT
U-1 ESP WET DE-ASHING STATUS
ESP | AB-1ST FIELD |  |  | CD-1ST FIELD |  |  | AB-2ND FIELD |  |  | CD-2ND FIELD |  |  | AB-3RD FIELD |  |  | CD-3RD FIELD |  |  | AB-4TH FIELD |  |  | CD-4TH FIELD |  |  | AB-5TH FIELD |  |  | CD-5TH FIELD |  |  | AB-6TH FIELD |  |  | CD-6TH FIELD
CYCLE | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1
2
3
U-2 ESP WET DE-ASHING STATUS
ESP | AB-1ST FIELD |  |  | CD-1ST FIELD |  |  | AB-2ND FIELD |  |  | CD-2ND FIELD |  |  | AB-3RD FIELD |  |  | CD-3RD FIELD |  |  | AB-4TH FIELD |  |  | CD-4TH FIELD |  |  | AB-5TH FIELD |  |  | CD-5TH FIELD |  |  | AB-6TH FIELD |  |  | CD-6TH FIELD
CYCLE | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1
2
3
U-1 ECO/ APH/ DUCT/ CAS WET DE-ASHING STATUS | [18 empty] | U-2 ECO/ APH/ DUCT/ CAS WET DE-ASHING STATUS
CYCLE | ECONOMISE- 1 TO 4 |  |  | AIR PRE HEATER-1 TO 3 |  |  | AIR PRE HEATER-4 TO 6 |  |  | DUCT-WEST |  |  | DUCT- EAST |  |  | COARSE ASH SILO |  |  | ECONOMISE- 1 TO 4 |  |  | AIR PRE HEATER-1 TO 3 |  |  | AIR PRE HEATER-4 TO 6 |  |  | DUCT-WEST |  |  | DUCT- EAST |  |  | COARSE ASH SILO
| START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1
2
3
U-1 WET SYSTEM - ESP FIELD AVAILABILITY STATUS | [18 empty] | U-2 WET SYSTEM - ESP FIELD AVAILABILITY STATUS
AVAIL. STATUS | AB-1ST | CD-1ST | AB-2ND | CD-2ND | AB-3RD | CD-3RD | AB-4TH | CD-4TH | AB-5TH | CD-5TH | AB-6TH | CD-6TH | ECO-1 TO4 | APH-1 TO 3 | APH-4 TO6 | DUCT-EAST | DUCT-WEST | C.A. SILO | AVAIL. STATUS | AB-1ST | CD-1ST | AB-2ND | CD-2ND | AB-3RD | CD-3RD | AB-4TH | CD-4TH | AB-5TH | CD-5TH | AB-6TH | CD-6TH | ECO-1 TO4 | APH-1 TO 3 | APH-4 TO6 | DUCT-EAST | DUCT-WEST
>>> | [18 empty] | >>>
WET SYSTEM - EQUIPMENTS RUNNING STATUS (HT)
PUMPS | ADP-A |  |  |  | ADP-B |  |  |  | ADP-C |  |  |  | ADP-D |  |  |  | HPP-A |  |  |  | HPP-B |  |  |  | HPP-C |  |  |  | SWP-A |  |  |  | SWP-B
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS
1
2
3
4
|  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS
WET SYSTEM - EQUIPMENTS RUNNING STATUS (LT)
PUMPS | ISP-1A |  |  |  | ISP-2A |  |  |  | ISP-2B |  |  |  | LPP-A |  |  |  | LPP-B |  |  |  | LPP-C |  |  |  |  | Unit-1 Over flow Transfer Pump | [5 empty] | Unit-2 Over flow Transfer Pump
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS |  | Pump |  | AVAIL. STATUS |  |  |  | Pump |  | AVAIL. STATUS
1 | [25 empty] | OTP-1A | [5 empty] | OTP-2A
2
3 | [25 empty] | OTP-1B | [5 empty] | OTP-2B
4
|  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS |  |  |  | TOTAL HRS
Events Unit-1 | [19 empty] | Events Unit-2
Date |  |  |  | Time |  |  |  | Attachment |  |  |  |  | Description | [6 empty] | Date |  |  |  | Time |  |  |  | Attachment |  |  |  | Description
Remarks
Follow-up
Date |  |  |  | Time |  |  |  | Status |  |  |  |  | Description
Protection Bypassed
Date |  |  |  | Time |  |  |  | Status |  |  |  |  | Description
Equipment Not Available
Date |  |  |  | Time |  |  |  | Status |  |  |  |  | Description
Submitted By: